## Assumptions
Compute-Heat Brick — Indoor Private Pool Model
Edit the YELLOW cells. Everything recalculates. All GBP, June 2026. GREEN = computed.
OPERATING ASSUMPTIONS
Occupancy / utilisation (fraction of time earning) | 55% | THE make-or-break number — measure it with one box
Electricity price you pay (p/kWh) | 20
FX ($ per £) | 1.27
Vast renter premium (host keeps 1 ÷ this) | 1.25 | Vast's renter price ≈ 25% above host earnings → host keeps ~80%
Maintenance (% of capex / yr) | 5%
Other opex (£/box/yr: monitoring, platform, support) | 150
Hours per year | 8760
GPUs per box (pool box) | 6
REVENUE ASSUMPTIONS (see 'Revenue vs GPU' tab)
Revenue method | Rental
Token price (£ / million tokens, if Token) | 0.4 | commodity ~£0.03 · mid ~£0.15 · reliable-fleet ~£0.55+
POOL (HOST) ASSUMPTIONS
Indoor pool heat demand (kW) | 7 | mid indoor pool ~5–10 kW
Heat value displaced for host (p/kWh) | 8 | gas ~8 · pool heat-pump ~5.5 · electric ~25
SELECTED GPU (drives Unit Economics)
GPU model | RTX 4090 | pick any of the 12 below — Unit Economics recomputes
GPU RETURN-ON-CAPITAL — 12 cards worth costing, audited 7 Jun 2026, ranked best-first
GPU | Used £ | Heat W | Renter $/hr (typ) | tok/s | Occ % | Host £/hr | Net £/yr | ROC %/yr | Payback | New £ | Vast headline $/hr | confidence | price | rate
A100 80GB SXM | 4000 | 400 | 0.85 | 115 | 55% |  |  |  |  | 6500 | 0.97 | price MOD / rate MOD | price | rate
A100 40GB PCIe | 3500 | 250 | 0.6 | 110 | 55% |  |  |  |  | 5500 | 0.64 | price LOW / rate MOD | price | rate
RTX 5090 | 3270 | 575 | 0.65 | 140 | 55% |  |  |  |  | 3599 | 0.8 | price HIGH / rate LOW-MOD | price | rate
RTX 4090 | 1843 | 450 | 0.4 | 120 | 55% |  |  |  |  | 1804 | 0.58 | price HIGH / rate MOD | price | rate
NVIDIA L4 | 1550 | 72 | 0.29 | 43 | 35% |  |  |  |  | 2200 | 0.29 | price MOD / rate HIGH | price | rate
H100 80GB PCIe | 18000 | 350 | 2 | 280 | 55% |  |  |  |  | 25000 | 2.13 | price LOW / rate HIGH | price | rate
RTX 3090 | 820 | 350 | 0.24 | 95 | 35% |  |  |  |  | 2180 | 0.3 | price HIGH / rate MOD | price | rate
RTX A6000 | 2900 | 300 | 0.39 | 100 | 45% |  |  |  |  | 3500 | 0.39 | price MOD / rate HIGH | price | rate
A10 | 1700 | 150 | 0.26 | 70 | 35% |  |  |  |  | 2545 | 0.32 | price MOD / rate MOD | price | rate
RTX A5000 | 1100 | 230 | 0.2 | 75 | 35% |  |  |  |  | 1900 | 0.23 | price MOD / rate HIGH | price | rate
L40S | 5200 | 350 | 0.47 | 115 | 55% |  |  |  |  | 7130 | 0.47 | price MOD / rate MOD | price | rate
A40 | 3800 | 300 | 0.3 | 90 | 35% |  |  |  |  | 5100 | 0.32 | price MOD / rate MOD | price | rate
ROC %/yr = Net ÷ Used £ (the 'highest return on capital' ranking you asked for). Host £/hr = Renter $/hr ÷ 1.25 (Vast renter premium) ÷ 1.27 (FX). RENTER $/hr is the TYPICAL achieved rate (multi-source), NOT Vast's headline (shown for reference) — Vast's page price is a ceiling. Occ (yellow) = reasoned estimate; Vast publishes none — MEASURE it. Prices audited 7 Jun 2026 (bestvaluegpu.com + UK resellers).
Excluded: every sub-16GB / obsolete card (3060/3070/3080/4060Ti/4070/4080/5070/5080/2080Ti/V100/T4) — all LOSE money after electricity (renters won't hire <16GB VRAM). Not a data gap; they are out of contention.

## Capital Cost (BoM)
Capital Cost — full bill of materials, per pool box (heat recovery REQUIRED)
Yellow = editable unit price. Qty auto-scales with GPUs/box (Assumptions!B12). Heat-recovery lines are mandatory — they ARE the host's free heat.
Item | Unit £ | Qty | Line £ | Source
COMPUTE + HOST
GPU (selected) |  |  |  | bestvaluegpu
PCIe riser cable (per GPU) | 20 |  |  | Amazon UK
Chassis (4U GPU case) | 110 | 1 |  | Scan UK
PSU 1600W 80+ (1 per ~4 GPUs) | 300 |  |  | Scan UK
Mainboard (multi-PCIe) | 290 | 1 |  | idealo
CPU (host, Ryzen 9) | 270 | 1 |  | idealo
RAM 32GB DDR5 | 90 | 1 |  | Amazon UK
NVMe 1TB (model-weight cache) | 140 | 1 |  | PriceSpy
Networking NIC 2.5GbE | 15 | 1 |  | Amazon UK
Node controller (Raspberry Pi 5) | 80 | 1 |  | idealo
HEAT RECOVERY (required — this is the host's free heat)
GPU water block (per GPU) | 180 |  |  | EKWB / WatercoolingUK
Brazed-plate heat exchanger (to pool) | 80 | 1 |  | eBay UK
Circulation pump (D5) | 89 | 1 |  | WatercoolingUK
Coolant + tubing + fittings + reservoir | 120 | 1 |  | Amazon / WatercoolingUK
METERING + INSTALL
MID revenue submeter (electricity reimbursement) | 100 | 1 |  | smartprocess / TEW
Install — electrical (dedicated circuit / load mgmt) | 450 | 1 |  | electrician (BS 7671)
Install — pool plumbing (HX into pool loop) | 500 | 1 |  | SPATA pool installer
TOTAL CAPEX per box
Heat-recovery + pool-install lines are mandatory — without them there is no heat to give the host, so no site.

## Revenue vs GPU
GPU Cost-Benefit — every Vast.ai model, corrected host rate (ranked by payback)
Host £/hr = Renter $/hr ÷ premium (Assumptions!B8) ÷ FX (Assumptions!B7). Net = rental revenue − electricity (paid only while computing). Per-card occupancy from Assumptions col F. This is the table that drives card choice: high VRAM cards earn, sub-16GB cards sit idle.
GPU | Buy £ | Heat W | Occ % | Renter $/hr | Host $/hr | Host £/hr | Rental £/yr | Elec £/yr | NET £/yr | Payback yr | Net £/yr per kW heat | tok/s
Read it as: a card must EARN (≥24GB VRAM → real occupancy) AND make real HEAT (high TDP) to suit a heat-recovery box. The 4090/5090 win on both; sub-16GB cards lose money after electricity.

## Unit Economics
Per-Box Unit Economics — indoor pool box (selected GPU × GPUs/box)
CONFIGURATION
GPU
GPUs per box
Revenue method
Renter $/hr per GPU (typical achieved, not Vast headline)
Host £/hr per GPU (after ÷1.25 ÷FX)
tok/s per GPU
TDP per GPU (W = heat)
CAPITAL
TOTAL CAPEX per box (from BoM)
ANNUAL P&L (£/yr)
Power draw (kW)
Revenue — rental (corrected host rate)
Revenue — token
Revenue — selected method
Electricity (you pay)
Maintenance
Other opex
NET PROFIT
RETURNS
Payback (years)
Return on capital (%/yr)
HEAT TO THE POOL (free to host — not your revenue)
Heat output (kW, util-weighted avg)
Heat output (kWh/yr)
Value to pool owner (£/yr)
Boxes to meet pool's heat demand

## Pool Model
Indoor Private Pool — the deployment we're focusing on
THE POOL (host)
Pool heat demand (kW)
Pool heating cost today (£/yr, indoor) | 3500 | indoor pool ~£2,500–4,000/yr
Heat we deliver per box (kW avg)
Boxes per pool (to match demand)
GPUs per pool
VALUE TO THE POOL OWNER
Free heat delivered (£/yr)
≈ share of their heating bill covered
VALUE TO YOU (per pool)
Capex per pool
Net profit per pool (£/yr)
Payback (years)
MARKET
UK indoor pools (addressable) | ~30,000–50,000
Channel | SPATA pool installers/servicers | spata.co.uk
Incumbent to watch (commercial pools) | Deep Green (£200M, Octopus) | Data Centre Dynamics
Pool economics sources: | Origin (indoor running cost)
Poolstore (heating cost)
HeatPumps4Pools (COP, sizing)

## Utilisation Sensitivity
Payback (years) vs Occupancy — per pool box (selected GPU, full BoM capex, corrected host rate)
Occupancy → | 25% | 40% | 50% | 60% | 70% | 90%
Payback (selected GPU)
Occupancy is the number to MEASURE with one real box before scaling. Below ~50% the best card still misses a 2-year payback — Phase 2 token-serving is what lifts occupancy (and stabilises the heat).

## Fleet Build
Fleet Build — pools over 5 years (uses per-pool capex & net from Pool Model)
Year | Y1 | Y2 | Y3 | Y4 | Y5
Pools added (input) | 1 | 3 | 10 | 25 | 60
Cumulative pools
Capex this year (£)
Net profit (£/yr, cumulative)
Annual cashflow (net − capex)
Cumulative cashflow (£)
Capex is front-loaded — cumulative cash dips negative before it turns. Pace deployment to your cash.

## Sources & Notes
Sources & Notes
REVENUE — host payout maths (the correction)
Vast.ai host fee removed; renter premium added | https://vast.ai/article/june-2024-product-update
Vast.ai: live prices ~25% above host earnings | https://vast.ai/article/how-much-money-can-you-earn-renting-out-your-gpu-on-vast-ai
Vast.ai per-GPU rates | https://vast.ai/pricing/gpu/RTX-4090
Multi-provider rate tracker | https://computeprices.com/providers/vast
GPU prices (used/new, UK) | https://bestvaluegpu.com/en-gb/
Inference tok/s (Llama-3.1-8B) | https://www.localscore.ai/model/1
OpenRouter provider fee (0% from providers) | https://openrouter.ai/announcements/simplifying-our-platform-fee
ELECTRICITY
Ofgem price cap (24.67p Q2 2026) | https://www.ofgem.gov.uk/information-consumers/energy-advice-households/energy-price-cap-unit-rates-and-standing-charges
Octopus Agile (~16p, time-shift) | https://agileprices.co.uk/
Pay-the-host mechanism (Heata) | https://www.heata.co/hosts/sign-up
MID submeter | https://tewltd.co.uk/product/pjw-mid-approved-100a-din-rail-single-phase-kwh-meter-dr2100-2mod/
CAPITAL (box components)
Chassis / PSU | https://www.scan.co.uk/
GPU water blocks | https://www.ekwb.com/shop/ek-quantum-vector-rtx-3080-3090-d-rgb-nickel-acetal
Brazed-plate heat exchanger | https://www.heat-exchangers.uk/pricelist/
Pump / coolant | https://www.watercoolinguk.co.uk/
POOL + CHANNEL
Indoor pool running cost | https://www.originpools.co.uk/pools/indoor-pools/advice/cost-guides/how-much-does-it-cost-to-run-an-indoor-pool
Pool heat pump COP / sizing | https://heatpumps4pools.com/frequently-asked-questions-for-swimming-pool-heat-pumps/
SPATA installer trade body | https://www.spata.co.uk/
Deep Green (pool incumbent) | https://www.datacenterdynamics.com/en/news/uk-data-center-startup-offers-to-heat-britains-swimming-pools-with-waste-heat/
HONEST HEADLINES
• Host rate corrected: you receive Renter $/hr ÷ 1.25 ÷ 1.27 — earlier drafts ran ~25% hot.
• Occupancy is the make-or-break and is UNMEASURED for home GPUs — measure it with one box.
• VRAM gates demand: ≥24GB cards earn; sub-16GB sit idle and lose money after electricity.
• Best for THIS business: RTX 4090 / 5090 (earn AND make real heat). 3090 pays back too slowly.
• Heat recovery is REQUIRED — it is the host's free heat (the reason they host), and a cost to you.
• Prices move fast — re-verify before committing capital.