## Assumptions
Poultry plant-room — assumptions (edit yellow)
A broiler house ≈330 MWh/yr heat. Compute sits in an external plant room (like your biomass boiler), feeds the wet loop; the existing boiler peaks, a dry-cooler dumps excess. Big roof → solar.
House heat demand (MWh/yr) | 330
Compute boxes (£100k ≈ 6) | 6
kW per box | 2.7
Utilisation (compute earning) | 80%
GPUs per box | 6
Host £/hr per GPU | 0.252
Roof solar (kWp) — sized to compute | 40 | roof can hold ~300 kWp — rest powers the farm/exports
Displaced fuel price (p/kWh) | 12 | LPG ~12 · oil ~8.5 · biomass ~5 · electric ~25
Heat discount you give (charge this × fuel) | 50%
Grid day/peak (p/kWh) | 25
Grid night/off-peak (p/kWh) | 13
Solar LCOE (p/kWh) | 4
Heat-use loss (cleanout gaps) | 90%
Maintenance (% capex/yr) | 5%
Box cost £ | 15200
Opex £/box/yr | 150
Dry-cooler (heat dump) capex £ | 4000
Daylight window (h) | 12

## Monthly
The seasonal picture — heat demand vs compute heat vs solar (live)
Winter: house wants lots of heat, little solar (power dear) — heat fully used. Summer: little heat wanted, lots of solar (power cheap) — some heat dumped. The two hedge.
Month | Days | PSH | House demand | Compute heat | Heat used | Heat dumped | Solar gen | Solar used | Grid day | Grid night | Power £ | Heat rev £
Jan | 31 | 0.74
Feb | 28 | 1.36
Mar | 31 | 2.31
Apr | 30 | 3.42
May | 31 | 4.38
Jun | 30 | 4.5
Jul | 31 | 4.35
Aug | 31 | 3.78
Sep | 30 | 2.82
Oct | 31 | 1.61
Nov | 30 | 0.86
Dec | 31 | 0.6
TOTAL

## Economics
Economics — £100k poultry plant-room
CAPITAL
Compute capex (boxes)
Dry-cooler (heat dump)
TOTAL CAPEX
ANNUAL P&L
Compute revenue (needs DEMAND)
Heat revenue (sold to house @ discount)
− Power
− Maintenance
− Opex
NET £/yr
PAYBACK (months)
Return on capital (%/yr)
HEAT SINK CHECK
Heat sold (kWh/yr)
tiny % → room to scale far past £100k
House saving (their incentive, £/yr) | what halving their fuel bill is worth to them
QUICK SCENARIOS (fuel × power, 90% contracted util)
set Assumptions util=90%, then read:
LPG + grid 24p ≈ 29mo · LPG + solar ≈ 21mo
Oil + solar ≈ 21mo · Biomass + solar ≈ 22mo (heat cheap, solar carries it)
At 70% util add ~8–10 months. Spot demand (55%) fails — DEMAND is still the gate.

## Demand
Demand — the one thing everything rests on
Hard numbers (researched Jun 2026). Revenue is COMMODITY; token-serving ≈ raw rental. Utilisation is the variable that decides it, and your EDGE is being the lowest-cost producer.
A · Revenue per 4090 is commodity — token does NOT beat raw rental
Raw spot rental (Vast, host receives) | £0.25/hr | what you get renting the bare GPU
Token-serve Llama-8B @ $0.03/M, ~1,750 tok/s batched | ~£0.15–0.21/hr | output @ commodity floor — LESS than raw rental
Token-serve 70B (2×4090) @ ~$0.19/M | ~£0.16/hr per GPU | bigger model, lower throughput — no better
→ conclusion | commodity ~£0.20–0.25/hr | inference is a race to the floor; batching ≠ more £
B · So UTILISATION decides it — what you need at the poultry site (£95k, 12.4p power, heat sold)
Utilisation | Net £/yr | Payback (mo) | verdict
50% | 29126 | 39.2 | fails (chip dies)
55% | 32605 | 35 | tight
65% | 39562 | 28.9 | tight
70% | 43040 | 26.5 | tight
80% | 49998 | 22.8 | viable
90% | 56955 | 20.1 | viable
→ Need ~55% just to beat the 3-yr chip life; ~77% for a 2-year payback. A 4090 gets ~55–65% on the open market.
C · Your edge: lowest-cost producer (why you can WIN the utilisation)
Your marginal cost (12.4p solar power) | £0.056/GPU-hr | cheapest
A gamer's marginal cost (25p retail power) | £0.113/GPU-hr | 2× yours
A datacentre's (grid + cooling + rent) | £0.10–0.18/GPU-hr | + overheads you don't have
→ you can price at the floor + still profit | win routing (OpenRouter routes cheapest-first) | heat + free siting = the margin others lack
D · The three demand routes
1. Spot rental (Vast) + OpenRouter provider | util ~55–70% (market) | live in weeks; long tail of small providers IS listed; you're a price-taker
2. Be the CHEAPEST (your cost edge) → win routing | util ~70–80% (push by price) | the realistic plan — undercut on price, profit on low cost
3. One anchor customer (contract) | util ~90% (locked) | needs sales; a reason to pick you = your low price
VALIDATE BEFORE THE £100k: run ONE box on Vast + OpenRouter for a month (~£2k). It measures the ONE unknown — real achievable utilisation at your price. If it clears ~65%, the £100k pays back; if it sits at 40%, it doesn't. That £2k de-risks the whole decision.

## Notes
Notes — the plant-room architecture
FORM FACTOR: the compute unit IS a package plant room — external, like your biomass boiler house. Electronics stay OUTSIDE the shed (dust/ammonia/humidity are hostile + biosecurity); only WATER goes into the existing wet loop. You already install exactly this.
BASE-LOAD vs PEAK: compute runs 24/7 for revenue, so its heat is steady. The house wants a lot at chick placement (32–34°C brooding) and little once birds self-heat / between crops. So compute = BASE-LOAD heat; the existing biomass/LPG boiler stays as the PEAK/top-up. They coexist.
DRY-COOLER (the one new bit): when the shed doesn't want heat (between crops, hot weather), the compute can't switch off — that's the revenue — so a dry cooler dumps the excess. ~£4k, essential. (A biomass boiler just modulates off; compute can't.)
FUEL VALUE: best where you displace LPG (~12p) or oil (~8.5p). At houses already on cheap biomass (~5p) the heat earns little — but solar + compute demand still carry the payback (~22mo). Sort your contacts by fuel.
THE BIG ROOF: a broiler house roof (~2,000 m²) holds ~300 kWp. You only need ~40 kWp to power the compute cheaply; the rest could power the farm or export — a separate solar investment, and the reason cheap power is EASY here.
WHAT STILL GATES IT: install/access/form-factor are solved by your background. Payback still needs (1) a buyer for the compute (own token endpoint or one customer — 36 GPUs is fillable) and (2) cheap power (the roof). Heat is the sweetener + the siting deal, not the driver.